{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["sheet name"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"sheet name","index":0,"n_rows":250,"n_cols":14,"rows_kept":250,"cut":false,"hidden":false,"merged":[[0,0,0,13]]}
["BITACORA",{"$nulls":6},""]
["ID_BITACORA","ID_DEVICE","ID_SOCKET","FECHA INI.MEDIDA","FECHA FIN MEDIDA","FECHA INTERVENCION","ORIGEN","ESTADO","SUBESTACION","TENSION","PAÑO","COORDINADO","MOTIVO","COMENTARIO"]
["202601_0001","PJ1203A75803_0100","SIEGORDA_220_J1_SIG","2025-12-02T00:30:00","2026-01-01T05:15:00","2026-01-05T09:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","J1","SIERRA_GORDA","Medida cargada por medio de Recolector de Medidas",""]
["202601_0002","3202720064","SIEGORDA_220_JT1_SGO","2025-12-01T21:00:00","2025-12-31T23:45:00","2026-01-05T10:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT1","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202601_0003","3202720066","SIEGORDA_220_JT2_SGO","2025-12-01T21:00:00","2025-12-31T23:45:00","2026-01-05T10:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT2","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202601_0004","3202720067","SIEGORDA_220_JT3_SGO","2025-12-01T21:00:00","2025-12-31T23:45:00","2026-01-05T10:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT3","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202601_0005","MJ1305B12903_0100","CTMEJILL_004_PS01_SIG","2025-12-02T01:00:00","2026-01-01T06:00:00","2026-01-05T09:00:00","PRMTE","PENDIENTE","CENTRAL MEJILLONES","4","PS01","SIERRA_GORDA","Medida cargada por medio de Recolector de Medidas",""]
["202601_0006","MJ1306A02403_0100","CTMEJILL_004_PS02_SIG","2025-12-02T00:45:00","2026-01-01T05:45:00","2026-01-05T09:00:00","PRMTE","PENDIENTE","CENTRAL MEJILLONES","4","PS02","SIERRA_GORDA","Medida cargada por medio de Recolector de Medidas",""]
["202601_0007","MJ1303B18203_0100","SIEGORDA_220_J2_SIG","2025-12-02T01:15:00","2026-01-01T06:30:00","2026-01-05T09:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","J2","SIERRA_GORDA","Medida cargada por medio de Recolector de Medidas",""]
["202601_0008","MR2010B48302_0100","DUQUECO_023_PMGD3_PFS","2025-12-08T09:00:00","2025-12-31T23:45:00","2026-01-07T10:00:00","PRMTE","PENDIENTE","DUQUECO","23","PMGD3","PUELCHE FLUX SPHERA","Actualizacion de medidas en forma manual",""]
["202601_0009","MR1612A31301_0100","VILARICA_023_PMGD3_MAU","2025-12-01T01:00:00","2026-01-01T23:45:00","2026-01-07T10:00:00","PRMTE","PENDIENTE","VILLARRICA","23","PMGD3","MINICENTRALES ARAUCANIA","Actualizacion de medidas en forma manual",""]
["202601_0010","MJ1302A65703_0100","PICOLTUE_023_ET1_FRL","2025-12-15T05:45:00","2025-12-31T23:45:00","2026-01-07T13:00:00","PRMTE","PENDIENTE","PICOLTUE","23","ET1","STS","Actualizacion de medidas en forma manual",""]
["202601_0011","MW1303A29401_0100","CLBHPICO_012_LBR1_CHL","2025-11-17T05:15:00","2026-01-05T18:00:00","2026-01-07T12:00:00","PRMTE","PENDIENTE","CLUB HIPICO","12","LBR1","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202601_0012","MW1211A36001_0100","ALTAMIRA_012_LBR6_CHL","2025-11-14T05:15:00","2026-01-05T16:30:00","2026-01-07T12:00:00","PRMTE","PENDIENTE","ALTAMIRANO","12","LBR6","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202601_0013","MZ2403A47101_0100","NVALDVIA_023_E6_STS","2025-12-01","2025-12-31T23:45:00","2026-01-07T13:00:00","PRMTE","PENDIENTE","EL LAUREL","23","E6","STS","Actualizacion de medidas en forma manual",""]
["202601_0014","172901232","HUALPEN_154_A3_PPW","2025-12-03T18:15:00","2026-01-02T14:30:00","2026-01-07T12:00:00","PRMTE","PENDIENTE","HUALPEN","154","A3","PETROPOWER","Actualizacion de medidas en forma manual",""]
["202601_0015","MJ1306A15803_0100","MULCHEN_220_J8_FRL","2025-12-15T05:45:00","2025-12-31T23:45:00","2026-01-07T13:00:00","PRMTE","PENDIENTE","MULCHEN","220","J8","STS","Actualizacion de medidas en forma manual",""]
["202601_0016","MZ2403A47201_0100","NVALDVIA_023_E4_STS","2025-12-01","2025-12-31T23:45:00","2026-01-07T13:00:00","PRMTE","PENDIENTE","EL LAUREL","23","E4","STS","Actualizacion de medidas en forma manual",""]
["202601_0017","MR1811B80102_0100","STAMARTA_023_PMGD1_EDM","2025-12-22T15:45:00","2026-01-02T10:15:00","2026-01-07T12:00:00","PRMTE","PENDIENTE","SANTA MARTA","23","PMGD1","EDAM","Actualizacion de medidas en forma manual",""]
["202601_0018","MW1509A62202_0100","PNTEALTO_012_CT3_EEP","2025-12-02T05:15:00","2025-12-02T12:15:00","2026-01-07T09:00:00","PRMTE","PENDIENTE","PUENTE ALTO (TEC)","12","CT3","EEPA","Actualizacion de medidas en forma manual",""]
["202601_0019","PT0901A17501_0100","CABRERO_023_ET2_FRL","2025-12-01","2025-12-31T23:45:00","2026-01-07T13:00:00","PRMTE","PENDIENTE","CABRERO","23","ET2","STS","Actualizacion de medidas en forma manual",""]
["202601_0020","PT1110A14201_0100","ELABRA_220_J8_ECL","2025-12-01","2025-12-31T23:45:00","2026-01-08T10:00:00","PRMTE","PENDIENTE","EL ABRA","220","J8","ENGIE","Actualizacion de medidas en forma manual",""]
["202601_0021","MW2509A64502_0100","SCONVIEJ_154_A3_ECV","2025-12-07T05:15:00","2025-12-31T23:45:00","2026-01-08T11:00:00","PRMTE","PENDIENTE","SECCIONADORA CONVENTO VIEJO","154","A3","EMBALSE CONVENTO VIEJO","Actualizacion de medidas en forma manual",""]
["202601_0022","PJ0608A13001_0100","ESPRANZA_110_H3_CLB","2025-12-01T13:00:00","2026-01-07T10:30:00","2026-01-08T10:00:00","PRMTE","PENDIENTE","ESPERANZA","110","H3","ALFA TRANSMISORA","Actualizacion de medidas en forma manual",""]
["202601_0023","MW1405A18201_0100","TPTALTAL_220_JL1_PTL","2025-12-05T04:45:00","2025-12-31T23:45:00","2026-01-08T13:00:00","PRMTE","PENDIENTE","TAP OFF TALTAL","220","JL1","ALMEYDA SOLAR","Actualizacion de medidas en forma manual",""]
["202601_0024","MR2411E82903_0100","MANDINGA_013_PMGD4_MDG","2025-12-19T13:30:00","2026-01-06T15:15:00","2026-01-12T10:00:00","PRMTE","PENDIENTE","MANDINGA","13","PMGD4","PMGD FV MANDINGA","Actualizacion de medidas en forma manual",""]
["202601_0025","MR1911B86402_0100","POLPAICH_023_DX3_CHL","2025-09-01","2026-01-07T23:45:00","2026-01-12T11:00:00","PRMTE","PENDIENTE","POLPAICO (STM)","23","DX3","ELECTRICA TIL TIL","Actualizacion de medidas en forma manual",""]
["202601_0026","PJ0804A15901_0100","PDOXIDOS_013_CT1_ESC","2025-12-02T05:15:00","2025-12-31T23:45:00","2026-01-15T10:00:00","PRMTE","PENDIENTE","PLANTA OXIDOS","13","CT1","MINERA ESCONDIDA","Actualizacion de medidas en forma manual",""]
["202601_0027","PJ1005A24302_0100","PDOXIDOS_013_CT2_ESC","2025-12-02T05:15:00","2025-12-31T23:45:00","2026-01-15T11:00:00","PRMTE","PENDIENTE","PLANTA OXIDOS","13","CT2","MINERA ESCONDIDA","Actualizacion de medidas en forma manual",""]
["202601_0028","MR2102C09002_0100","LSANGLES_013_C1_STS","2025-10-01","2025-12-31T23:45:00","2026-01-15T11:00:00","PRMTE","PENDIENTE","LOS ANGELES (CGE)","13","CT1","FRONTEL","Actualizacion de medidas en forma manual",""]
["202601_0029","MR2007A53002_0100","LAUTARO_013_LBR8_FRL","2025-10-04T05:45:00","2025-12-31T23:45:00","2026-01-15T11:00:00","PRMTE","PENDIENTE","LAUTARO","13","LBR8","FRONTEL","Actualizacion de medidas en forma manual",""]
["202601_0030","MR1705B14802_0100","OSORNO_023_DX10_LOS","2025-10-01","2025-12-31T23:45:00","2026-01-15T11:00:00","PRMTE","PENDIENTE","OSORNO","23","DX10","LUZ OSORNO","Actualizacion de medidas en forma manual",""]
["202601_0031","MR1807C31202_0100","MELIPULI_023_LBR5_SAE","2025-11-20T05:45:00","2025-12-31T23:45:00","2026-01-15T11:00:00","PRMTE","PENDIENTE","MELIPULLI","23","LBR5","SAESA","Actualizacion de medidas en forma manual",""]
["202601_0032","MR1705A89802_0100","FRUTILLAR_023_DX2_LOS","2025-10-01","2025-12-31T23:45:00","2026-01-15T11:00:00","PRMTE","PENDIENTE","FRUTILLAR","23","DX2","LUZ OSORNO","Actualizacion de medidas en forma manual",""]
["202601_0033","MR2105A25902_0100","MDVELASC_015_LBR5_CGD","2025-09-01","2026-01-21T02:30:00","2026-01-22T11:00:00","PRMTE","PENDIENTE","MANSO DE VELASCO","15","LBR5","CGE","Actualizacion de medidas en forma manual",""]
["202601_0034","MR2504B58703_0100","QLENTARO_013_LBR2_CGD","2025-11-06T01:00:00","2026-01-22T02:45:00","2026-01-23T09:00:00","PRMTE","PENDIENTE","QUELENTARO","13","LBR2","CGE","Actualizacion de medidas en forma manual",""]
["202601_0035","MR2505A56803_0100","S5LLOROS_023_E8_ECL","2025-11-26T13:15:00","2026-01-29T15:45:00","2026-01-29T17:00:00","PRMTE","PENDIENTE","CENTRAL PARQUE SOLAR LOS LOROS","23","E8","ENGIE","Actualizacion de medidas en forma manual",""]
["202602_0001","3202720064","SIEGORDA_220_JT1_SGO","2026-01-01","2026-01-31T23:45:00","2026-02-02T15:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT1","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202602_0002","MW2305A24402_0100","CPHUENCH_013_U1_END","2026-01-27T05:15:00","2026-02-01T02:00:00","2026-02-02T09:00:00","PRMTE","PENDIENTE","CENTRAL PEHUENCHE","13","JU1","ENEL GENERACION","Actualizacion de medidas en forma manual",""]
["202602_0003","3202720066","SIEGORDA_220_JT2_SGO","2026-01-01","2026-01-31T23:45:00","2026-02-02T15:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT2","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202602_0004","3202720067","SIEGORDA_220_JT3_SGO","2026-01-01","2026-01-31T23:45:00","2026-02-02T15:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT3","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202602_0005","MW1405A18201_0100","TPTALTAL_220_JL1_PTL","2026-01-01","2026-01-31T23:45:00","2026-02-02T09:00:00","PRMTE","PENDIENTE","TAP OFF TALTAL","220","JL1","ALMEYDA SOLAR","Actualizacion de medidas en forma manual",""]
["202602_0006","MR1612A31301_0100","VILARICA_023_PMGD3_MAU","2026-01-02","2026-01-31T23:45:00","2026-02-03T09:00:00","PRMTE","PENDIENTE","VILLARRICA","23","PMGD3","MINICENTRALES ARAUCANIA","Actualizacion de medidas en forma manual",""]
["202602_0007","MR2509E03403_0100","DUQUECO_023_PMGD3_PFS","2026-01-28T01:15:00","2026-02-03T10:30:00","2026-02-03T11:00:00","PRMTE","PENDIENTE","DUQUECO","23","PMGD3","PUELCHE FLUX SPHERA","Actualizacion de medidas en forma manual",""]
["202602_0008","MJ1303B18203_0100","SIEGORDA_220_J2_SIG","2026-01-01T06:45:00","2026-02-02T23:45:00","2026-02-03T17:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","J2","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202602_0009","MW2406A41902_0100","FATIMA_015_PMGD6_SRS","2026-01-03T23:30:00","2026-01-31T23:45:00","2026-02-03T10:00:00","PRMTE","PENDIENTE","FATIMA","15","PMGD6","PARQUE SOLAR SAN RAMON","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202602_0010","MW2002A04402_0100","CHOCALAN_013_CT1_TRS","2026-01-30T22:30:00","2026-02-03T08:00:00","2026-02-03T09:00:00","PRMTE","PENDIENTE","CHOCALAN","13","CT1","CGE","Actualizacion de medidas en forma manual",""]
["202602_0011","MR2509E03403_0100","DUQUECO_023_PMGD3_PFS","2026-01-01","2026-01-28T01:00:00","2026-02-03T10:00:00","PRMTE","PENDIENTE","DUQUECO","23","PMGD3","PUELCHE FLUX SPHERA","Actualizacion de medidas en forma manual",""]
["202602_0012","PJ1203A75803_0100","SIEGORDA_220_J1_SIG","2026-01-01T05:30:00","2026-02-02T23:45:00","2026-02-03T17:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","J1","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202602_0013","MW2410A03502_0100","BOLERO_033_E5_BOL","2026-01-18T05:15:00","2026-01-31T12:15:00","2026-02-04T11:00:00","PRMTE","PENDIENTE","BOLERO","33","E5","BOLERO","Actualizacion de medidas en forma manual",""]
["202602_0014","MW2410A03902_0100","BOLERO_033_E4_BOL","2026-01-18T05:15:00","2026-01-31T12:00:00","2026-02-04T11:00:00","PRMTE","PENDIENTE","BOLERO","33","E4","BOLERO","Actualizacion de medidas en forma manual",""]
["202602_0015","MW2410A54602_0100","BOLERO_033_E7_BOL","2026-01-18T05:15:00","2026-01-31T12:30:00","2026-02-04T10:00:00","PRMTE","PENDIENTE","BOLERO","33","E7","BOLERO","Actualizacion de medidas en forma manual",""]
["202602_0016","MW2410A53902_0100","BOLERO_033_E3_BOL","2026-01-18T05:15:00","2026-01-31T12:30:00","2026-02-04T15:00:00","PRMTE","PENDIENTE","BOLERO","33","E3","BOLERO","Actualizacion de medidas en forma manual",""]
["202602_0017","MW2410A03202_0100","BOLERO_033_E6_BOL","2026-01-18T05:15:00","2026-01-31T12:30:00","2026-02-04T11:00:00","PRMTE","PENDIENTE","BOLERO","33","E6","BOLERO","Actualizacion de medidas en forma manual",""]
["202602_0018","PT0901A17501_0100","CABRERO_023_ET2_FRL","2026-01-01","2026-01-31T23:45:00","2026-02-05T11:00:00","PRMTE","PENDIENTE","CABRERO","23","ET2","STS","Actualizacion de medidas en forma manual",""]
["202602_0019","MW1211A21301_0100","LOBOZA_012_LBR1_CHL","2025-11-14T05:15:00","2026-02-03T18:45:00","2026-02-05T10:00:00","PRMTE","PENDIENTE","LO BOZA","12","LBR1","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202602_0020","MW1211A36001_0100","ALTAMIRA_012_LBR6_CHL","2026-01-05T16:45:00","2026-02-03T18:45:00","2026-02-05T11:00:00","PRMTE","PENDIENTE","ALTAMIRANO","12","LBR6","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202602_0021","PJ0608A13001_0100","ESPRANZA_110_H3_CLB","2026-01-07T10:45:00","2026-02-02T10:00:00","2026-02-05T11:00:00","PRMTE","PENDIENTE","ESPERANZA","110","H3","ALFA TRANSMISORA","Actualizacion de medidas en forma manual",""]
["202602_0022","MW1303A29401_0100","CLBHPICO_012_LBR1_CHL","2026-01-05T18:15:00","2026-02-03T18:45:00","2026-02-05T11:00:00","PRMTE","PENDIENTE","CLUB HIPICO","12","LBR1","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202602_0023","MR1911B86402_0100","POLPAICH_023_DX3_CHL","2026-01-08","2026-02-03T18:45:00","2026-02-05T11:00:00","PRMTE","PENDIENTE","POLPAICO (STM)","23","DX3","ELECTRICA TIL TIL","Actualizacion de medidas en forma manual",""]
["202602_0024","MW1211A42601_0100","CHCABUCO_012_LBR2_CHL","2025-11-01T04:00:00","2026-02-03T17:30:00","2026-02-05T10:00:00","PRMTE","PENDIENTE","CHACABUCO","12","LBR2","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202602_0025","MZ2403A47101_0100","NVALDVIA_023_E6_STS","2026-01-01","2026-01-31T23:45:00","2026-02-05T12:00:00","PRMTE","PENDIENTE","EL LAUREL","23","E6","STS","Actualizacion de medidas en forma manual",""]
["202602_0026","MZ2403A47201_0100","NVALDVIA_023_E4_STS","2026-01-01","2026-01-31T23:45:00","2026-02-05T11:00:00","PRMTE","PENDIENTE","EL LAUREL","23","E4","STS","Actualizacion de medidas en forma manual",""]
["202602_0027","MW2410A54002_0100","BOLERO_033_E2_BOL","2026-01-18T05:15:00","2026-01-31T12:15:00","2026-02-05T10:00:00","PRMTE","PENDIENTE","BOLERO","33","E2","BOLERO","Actualizacion de medidas en forma manual",""]
["202602_0028","MW1303A45401_0100","SNCRISTO_012_LBR5_CHL","2026-01-16T15:00:00","2026-01-17","2026-02-05T11:00:00","PRMTE","PENDIENTE","SAN CRISTOBAL","12","LBR5","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202602_0029","MW2410A03002_0100","BOLERO_033_E1_BOL","2026-01-18T05:15:00","2026-01-31T11:45:00","2026-02-05T10:00:00","PRMTE","PENDIENTE","BOLERO","33","E1","BOLERO","Actualizacion de medidas en forma manual",""]
["202602_0030","MR2102C09002_0100","LSANGLES_013_C1_STS","2026-01-01","2026-01-31T23:45:00","2026-02-06T10:00:00","PRMTE","PENDIENTE","LOS ANGELES (CGE)","13","CT1","FRONTEL","Actualizacion de medidas en forma manual",""]
["202602_0031","MW1707A45302_0100","PRTZUELO_023_PMGD2_VIT","2026-01-01","2026-01-31T23:45:00","2026-02-06T10:00:00","PRMTE","PENDIENTE","PORTEZUELO","23","PMGD2","VITUCO","Actualizacion de medidas en forma manual",""]
["202602_0032","MW1701B00702_0100","KIMAL_220_J11-J12_SAT","2026-01-01","2026-01-31T23:45:00","2026-02-06T10:00:00","PRMTE","PENDIENTE","KIMAL","220","J11-J12","SATT","Actualizacion de medidas en forma manual",""]
["202602_0033","MR2009A47702_0100","LSARANAS_013_PMGD4_SLN","2026-01-17T16:45:00","2026-01-22T16:15:00","2026-02-06T09:00:00","PRMTE","PENDIENTE","LAS ARAÑAS","13","PMGD4","SALERNO SOLAR","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202602_0034","MR1705B14802_0100","OSORNO_023_DX10_LOS","2026-01-01","2026-01-31T23:45:00","2026-02-06T10:00:00","PRMTE","PENDIENTE","OSORNO","23","DX10","LUZ OSORNO","Actualizacion de medidas en forma manual",""]
["202602_0035","PT0808A40901_0100","LICANCO_023_PMGD1_HEL","2026-01-01","2026-01-31T23:45:00","2026-02-06T10:00:00","PRMTE","PENDIENTE","LICANCO","23","PMGD1","ENERBOSCH","Actualizacion de medidas en forma manual",""]
["202602_0036","MR2102C04402_0100","OSORNO_013_DXX_SGA","2026-01-24T20:45:00","2026-01-31T23:45:00","2026-02-06T10:00:00","PRMTE","PENDIENTE","OSORNO","13","DXX","LUZ OSORNO","Actualizacion de medidas en forma manual",""]
["202602_0037","3220170240","CENTELLA_220_J5-J6_CEN","2025-11-01","2026-01-31T23:45:00","2026-02-06T09:00:00","PRMTE","PENDIENTE","CENTELLA","220","J5-J6","CENTELLA TRANSMISION","Actualizacion de medidas en forma manual",""]
["202602_0038","MR2204C01502_0100","LCMPANIA_013_PMGD1_GVT","2026-01-05T16:45:00","2026-01-07T14:00:00","2026-02-06T09:00:00","PRMTE","PENDIENTE","LAS COMPAÑIAS","13","PMGD1","PFV EL GAVIOTIN","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202602_0039","PT0607A22301_0100","PTAPEUCO_110_CH_AES","2025-11-01","2026-01-31T23:45:00","2026-02-06T10:00:00","PRMTE","PENDIENTE","PUNTA PEUCO (CEMENTO POLPAICO)","110","CH","CTNG","Actualizacion de medidas en forma manual",""]
["202602_0040","MR1705A89802_0100","FRUTILLAR_023_DX2_LOS","2026-01-01","2026-01-31T23:45:00","2026-02-06T10:00:00","PRMTE","PENDIENTE","FRUTILLAR","23","DX2","LUZ OSORNO","Actualizacion de medidas en forma manual",""]
["202602_0041","MR2111A96202_0100","CLCHAGUA_015_PMGD3_CHA","2026-01-01","2026-01-31T23:45:00","2026-02-09T17:00:00","PRMTE","PENDIENTE","COLCHAGUA","15","PMGD3","PFV LAS CACHAÑAS","Actualizacion de medidas en forma manual",""]
["202602_0042","MW2111A27002_0100","LANEGRA_023_PMGD1_LNS","2026-01-01","2026-01-31T23:45:00","2026-02-09T17:00:00","PRMTE","PENDIENTE","LA NEGRA","23","PMGD1","PMGD LINCE SOLAR","Actualizacion de medidas en forma manual",""]
["202602_0043","PT1110A14201_0100","ELABRA_220_J8_ECL","2026-01-01","2026-01-31T23:45:00","2026-02-10T09:00:00","PRMTE","PENDIENTE","EL ABRA","220","J8","ENGIE","Actualizacion de medidas en forma manual",""]
["202602_0044","MW1602A06202_0100","CHARRUA_500_K3_CTE","2025-12-01","2026-01-31T23:45:00","2026-02-10T15:00:00","PRMTE","PENDIENTE","CHARRUA","500","K3","CHARRUA TRANSMISORA DE ENERGIA","Actualizacion de medidas en forma manual",""]
["202602_0045","MW2206A79202_0100","EAVELANO_023_PMGD7_PPC","2026-01-01","2026-01-31T23:45:00","2026-02-10T09:00:00","PRMTE","PENDIENTE","EL AVELLANO","23","PMGD7","PMGD PSF COYUNCHE","Actualizacion de medidas en forma manual",""]
["202602_0046","PJ0911A86202_0100","CHARRUA_220_J12_CLB","2026-01-01","2026-01-31T23:45:00","2026-02-10T13:00:00","PRMTE","PENDIENTE","CHARRUA","220","J12","ALFA TRANSMISORA","Actualizacion de medidas en forma manual",""]
["202602_0047","MW1607B04202_0100","ALNDCORD_012_CT4_CHL","2026-01-01","2026-01-31T23:45:00","2026-02-10T12:00:00","PRMTE","PENDIENTE","ALONSO DE CORDOVA","12","CT4","STM II","Actualizacion de medidas en forma manual",""]
["202602_0048","PT0802A74301_0100","CHARRUA_220_J18_CLB","2026-01-01","2026-01-31T23:45:00","2026-02-10T16:00:00","PRMTE","PENDIENTE","CHARRUA","220","J18","COLBUN","Actualizacion de medidas en forma manual",""]
["202602_0049","MR2001A35502_0100","SNFELIPE_012_PMGD9_CSR","2026-01-01","2026-01-31T23:45:00","2026-02-12T22:00:00","PRMTE","PENDIENTE","SAN FELIPE","12","PMGD9","CEDARS SOLAR","Actualizacion de medidas en forma manual",""]
["202602_0050","MR1811B79102_0100","EMANZACH_023_PMGD3_CSR","2026-01-01","2026-01-31T23:45:00","2026-02-12T09:00:00","PRMTE","PENDIENTE","EL MANZANO (STM)","23","PMGD5","CEDARS SOLAR","Actualizacion de medidas en forma manual",""]
["202602_0051","PQ0412A09703_0100","SNFELIPE_110_HT1_CHQ","2026-01-01","2026-01-31T23:45:00","2026-02-12T23:00:00","PRMTE","PENDIENTE","SAN FELIPE","110","HT1","CHILQUINTA","Actualizacion de medidas en forma manual",""]
["202602_0052","MW1303A45401_0100","SNCRISTO_012_LBR5_CHL","2026-01-01","2026-01-31T23:45:00","2026-02-13T10:00:00","PRMTE","PENDIENTE","SAN CRISTOBAL","12","LBR5","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202602_0053","MW1303A46601_0100","MAIPU_012_LBR6_CHL","2025-12-01","2026-01-31T23:45:00","2026-02-13T01:00:00","PRMTE","PENDIENTE","MAIPU","12","LBR6","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202602_0054","MW1303A46301_0100","STAMARTA_023_LBR3_CHL","2026-01-01","2026-01-31T23:45:00","2026-02-13","PRMTE","PENDIENTE","SANTA MARTA","23","LBR3","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202602_0055","PT1402A07601_0100","RUNGUE_023_PMGD1_TTS","2026-01-01","2026-01-31T23:45:00","2026-02-13T10:00:00","PRMTE","PENDIENTE","RUNGUE","23","PMGD1","TILTIL SOLAR","Actualizacion de medidas en forma manual",""]
["202602_0056","MR2311B82103_0100","CHOLGUAN_023_PMGD3_SEM","2026-01-01","2026-01-31T23:45:00","2026-02-16T14:00:00","PRMTE","PENDIENTE","CHOLGUAN","23","PMGD3","PARQUE SOLAR ESMERALDA","Actualizacion de medidas en forma manual",""]
["202602_0057","MR2509E03403_0100","DUQUECO_023_PMGD3_PFS","2026-02-03T10:45:00","2026-02-26T10:15:00","2026-02-26T11:00:00","PRMTE","PENDIENTE","DUQUECO","23","PMGD3","PUELCHE FLUX SPHERA","Actualizacion de medidas en forma manual",""]
["202603_0001","PJ1203A75803_0100","SIEGORDA_220_J1_SIG","2026-02-03","2026-03-01T04:00:00","2026-03-02T13:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","J1","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202603_0002","MJ1303B18203_0100","SIEGORDA_220_J2_SIG","2026-02-03","2026-03-01T04:00:00","2026-03-02T13:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","J2","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202603_0003","MR1612A31301_0100","VILARICA_023_PMGD3_MAU","2026-02-01","2026-02-28T23:45:00","2026-03-02T12:00:00","PRMTE","PENDIENTE","VILLARRICA","23","PMGD3","MINICENTRALES ARAUCANIA","Actualizacion de medidas en forma manual",""]
["202603_0004","MW1405A18201_0100","TPTALTAL_220_JL1_PTL","2026-02-01","2026-02-28T23:45:00","2026-03-02T13:00:00","PRMTE","PENDIENTE","TAP OFF TALTAL","220","JL1","ALMEYDA SOLAR","Actualizacion de medidas en forma manual",""]
["202603_0005","3202720066","SIEGORDA_220_JT2_SGO","2026-02-01","2026-02-28T23:45:00","2026-03-02T12:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT2","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202603_0006","3202720067","SIEGORDA_220_JT3_SGO","2026-02-01","2026-02-28T23:45:00","2026-03-02T12:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT3","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202603_0007","MW2305A24402_0100","CPHUENCH_013_U1_END","2026-02-01T02:15:00","2026-03-01T03:45:00","2026-03-02T13:00:00","PRMTE","PENDIENTE","CENTRAL PEHUENCHE","13","JU1","ENEL GENERACION","Actualizacion de medidas en forma manual",""]
["202603_0008","3202720064","SIEGORDA_220_JT1_SGO","2026-02-01","2026-02-28T23:45:00","2026-03-02T12:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT1","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202603_0009","PT0911A17301_0100","PNTEALTO_012_C1_EEP","2026-02-01","2026-02-28T23:45:00","2026-03-03T12:00:00","PRMTE","PENDIENTE","PUENTE ALTO (TEC)","12","C1","EEPA","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202603_0010","MR2509E03403_0100","DUQUECO_023_PMGD3_PFS","2026-02-26T10:30:00","2026-03-03T11:30:00","2026-03-03T12:00:00","PRMTE","PENDIENTE","DUQUECO","23","PMGD3","PUELCHE FLUX SPHERA","Actualizacion de medidas en forma manual",""]
["202603_0011","PJ0911A86202_0100","CHARRUA_220_J12_CLB","2026-02-01","2026-03-03T10:45:00","2026-03-04T13:00:00","PRMTE","PENDIENTE","CHARRUA","220","J12","ALFA TRANSMISORA","Actualizacion de medidas en forma manual",""]
["202603_0012","PT0802A74301_0100","CHARRUA_220_J18_CLB","2026-02-11T04:00:00","2026-03-03T10:30:00","2026-03-04T13:00:00","PRMTE","PENDIENTE","CHARRUA","220","J18","COLBUN","Actualizacion de medidas en forma manual",""]
["202603_0013","MR2505A57103_0100","S5LLOROS_023_E7_ECL","2025-12-01","2026-02-28T23:45:00","2026-03-04T12:00:00","PRMTE","PENDIENTE","CENTRAL PARQUE SOLAR LOS LOROS","23","E7","ENGIE","Actualizacion de medidas en forma manual",""]
["202603_0014","MW1602A06202_0100","CHARRUA_500_K3_CTE","2026-02-01","2026-03-03T10:00:00","2026-03-04T13:00:00","PRMTE","PENDIENTE","CHARRUA","500","K3","CHARRUA TRANSMISORA DE ENERGIA","Actualizacion de medidas en forma manual",""]
["202603_0015","PT1110A14201_0100","ELABRA_220_J8_ECL","2026-02-01","2026-02-28T23:45:00","2026-03-04T12:00:00","PRMTE","PENDIENTE","EL ABRA","220","J8","ENGIE","Actualizacion de medidas en forma manual",""]
["202603_0016","MR2505A56803_0100","S5LLOROS_023_E8_ECL","2026-01-29T16:00:00","2026-02-28T23:45:00","2026-03-04T12:00:00","PRMTE","PENDIENTE","CENTRAL PARQUE SOLAR LOS LOROS","23","E8","ENGIE","Actualizacion de medidas en forma manual",""]
["202603_0017","MR1911B86402_0100","POLPAICH_023_DX3_CHL","2026-02-03T19:00:00","2026-03-03T14:00:00","2026-03-05T10:00:00","PRMTE","PENDIENTE","POLPAICO (STM)","23","DX3","ELECTRICA TIL TIL","Actualizacion de medidas en forma manual",""]
["202603_0018","MR2509D32803_0100","EMANZACH_023_PMGD6_BTT","2026-02-03T14:15:00","2026-02-10T10:45:00","2026-03-05T12:00:00","PRMTE","PENDIENTE","EL MANZANO (STM)","23","PMGD6","PMGD BELENOS TIL TIL","Actualizacion de medidas en forma manual",""]
["202603_0019","MW2406A41902_0100","FATIMA_015_PMGD6_SRS","2026-02-01","2026-02-28T23:45:00","2026-03-05T13:00:00","PRMTE","PENDIENTE","FATIMA","15","PMGD6","PARQUE SOLAR SAN RAMON","Actualizacion de medidas en forma manual",""]
["202603_0020","MW1211A42601_0100","CHCABUCO_012_LBR2_CHL","2026-02-03T17:45:00","2026-03-02T19:00:00","2026-03-05T11:00:00","PRMTE","PENDIENTE","CHACABUCO","12","LBR2","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202603_0021","MW1303A29401_0100","CLBHPICO_012_LBR1_CHL","2026-02-03T19:00:00","2026-03-02T20:00:00","2026-03-05T11:00:00","PRMTE","PENDIENTE","CLUB HIPICO","12","LBR1","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202603_0022","MR2509D32803_0100","EMANZACH_023_PMGD6_BTT","2026-02-10T11:00:00","2026-03-05T12:30:00","2026-03-05T13:00:00","PRMTE","PENDIENTE","EL MANZANO (STM)","23","PMGD6","PMGD BELENOS TIL TIL","Actualizacion de medidas en forma manual",""]
["202603_0023","MR2206B24802_0100","LAJA_013_PMGD2_TLU","2026-02-01","2026-02-28T23:45:00","2026-03-05T13:00:00","PRMTE","PENDIENTE","LAJA","13","PMGD2","TEDLAR LUNA","Actualizacion de medidas en forma manual",""]
["202603_0024","MW2303B89302_0100","SNELVIRA_015_PMGD8_PEV","2026-01-01","2026-02-28T23:45:00","2026-03-05T15:00:00","PRMTE","PENDIENTE","SANTA ELVIRA","15","PMGD8","PMGD ELVIRA","Actualizacion de medidas en forma manual",""]
["202603_0025","MW1303A46601_0100","MAIPU_012_LBR6_CHL","2026-02-01","2026-03-03T19:00:00","2026-03-05T10:00:00","PRMTE","PENDIENTE","MAIPU","12","LBR6","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202603_0026","MW1211A21301_0100","LOBOZA_012_LBR1_CHL","2026-02-03T19:00:00","2026-03-04T22:15:00","2026-03-05T14:00:00","PRMTE","PENDIENTE","LO BOZA","12","LBR1","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202603_0027","MW1211A36001_0100","ALTAMIRA_012_LBR6_CHL","2026-02-03T19:00:00","2026-03-03T18:45:00","2026-03-05T10:00:00","PRMTE","PENDIENTE","ALTAMIRANO","12","LBR6","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202603_0028","MW1303A45401_0100","SNCRISTO_012_LBR5_CHL","2026-02-01","2026-03-02T11:15:00","2026-03-05T11:00:00","PRMTE","PENDIENTE","SAN CRISTOBAL","12","LBR5","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202603_0029","PT0901A17501_0100","CABRERO_023_ET2_FRL","2026-02-01","2026-02-28T23:45:00","2026-03-05T16:00:00","PRMTE","PENDIENTE","CABRERO","23","ET2","STS","Actualizacion de medidas en forma manual",""]
["202603_0030","MR2203B20002_0100","CHCABUCO_023_PMGD2_AGK","2025-12-01T21:00:00","2026-03-03T13:15:00","2026-03-05T15:00:00","PRMTE","PENDIENTE","CHACABUCO","23","PMGD2","AGGREKO","Actualizacion de medidas en forma manual",""]
["202603_0031","MW1303A46301_0100","STAMARTA_023_LBR3_CHL","2026-02-01","2026-03-03T14:00:00","2026-03-05T10:00:00","PRMTE","PENDIENTE","SANTA MARTA","23","LBR3","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202603_0032","PJ0608A13001_0100","ESPRANZA_110_H3_CLB","2026-02-02T10:15:00","2026-03-02T11:45:00","2026-03-05T09:00:00","PRMTE","PENDIENTE","ESPERANZA","110","H3","ALFA TRANSMISORA","Actualizacion de medidas en forma manual",""]
["202603_0033","MZ2403A47101_0100","NVALDVIA_023_E6_STS","2026-02-01","2026-02-28T23:45:00","2026-03-05T16:00:00","PRMTE","PENDIENTE","EL LAUREL","23","E6","STS","Actualizacion de medidas en forma manual",""]
["202603_0034","MZ2403A47201_0100","NVALDVIA_023_E4_STS","2026-02-01","2026-02-28T23:45:00","2026-03-05T16:00:00","PRMTE","PENDIENTE","EL LAUREL","23","E4","STS","Actualizacion de medidas en forma manual",""]
["202603_0035","PT1101B08501_0100","POLPAICO_220_J5_CHL","2026-02-13T17:30:00","2026-02-28T23:45:00","2026-03-06T09:00:00","PRMTE","PENDIENTE","POLPAICO (TRANSELEC)","220","J5","STM II","Actualizacion de medidas en forma manual",""]
["202603_0036","MW1908B28602_0100","ALTAMIRA_012_CT4_CHL","2026-02-06T04:45:00","2026-02-28T23:45:00","2026-03-06T09:00:00","PRMTE","PENDIENTE","ALTAMIRANO","12","CT4","STM II","Actualizacion de medidas en forma manual",""]
["202603_0037","PT0810A16601_0100","ALTAMIRA_012_CT1_CHL","2026-02-03T04:45:00","2026-02-28T23:45:00","2026-03-06T09:00:00","PRMTE","PENDIENTE","ALTAMIRANO","12","CT1","STM II","Actualizacion de medidas en forma manual",""]
["202603_0038","MW1607B04202_0100","ALNDCORD_012_CT4_CHL","2026-02-01","2026-02-28T23:45:00","2026-03-06T07:00:00","PRMTE","PENDIENTE","ALONSO DE CORDOVA","12","CT4","STM II","Actualizacion de medidas en forma manual",""]
["202603_0039","MJ1507A31105_0100","QUELLON_023_E1_STS","2026-02-03T11:30:00","2026-02-03T13:15:00","2026-03-12T11:00:00","PRMTE","PENDIENTE","QUELLON","23","E1","STS","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202603_0040","MJ1507A41305_0100","QUELLON_023_E2_STS","2026-02-03T13:30:00","2026-02-03T15:45:00","2026-03-12T11:00:00","PRMTE","PENDIENTE","QUELLON","23","E2","STS","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202603_0041","MT1303A04301_0100","QUELLON_023_ET1_STS","2026-02-04T05:45:00","2026-02-28T23:45:00","2026-03-12T12:00:00","PRMTE","PENDIENTE","QUELLON","23","ET1","STS","Actualizacion de medidas en forma manual",""]
["202603_0042","MJ1509A59205_0100","QUELLON_023_ET2_STS","2026-02-04T05:45:00","2026-02-28T23:45:00","2026-03-12T12:00:00","PRMTE","PENDIENTE","QUELLON","23","ET2","STS","Actualizacion de medidas en forma manual",""]
["202603_0043","MJ1509A59005_0100","QUELLON_023_E4_STS","2026-02-04T11:30:00","2026-02-04T13:30:00","2026-03-13T10:00:00","PRMTE","PENDIENTE","QUELLON","23","E4","STS","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202603_0044","MJ1610A24505_0100","CHONCHI_110_H2_STS","2026-02-10T05:45:00","2026-02-28T23:45:00","2026-03-13T11:00:00","PRMTE","PENDIENTE","CHONCHI","110","H2","STS","Actualizacion de medidas en forma manual",""]
["202603_0045","PT1012A05801_0100","CHONCHI_110_HT1_STS","2026-02-10T05:45:00","2026-02-28T23:45:00","2026-03-13T11:00:00","PRMTE","PENDIENTE","CHONCHI","110","HT1","STS","Actualizacion de medidas en forma manual",""]
["202603_0046","PT0907A66301_0100","CASTRO_024_ET1_STS","2026-02-11T05:45:00","2026-02-11T06:45:00","2026-03-13T11:00:00","PRMTE","PENDIENTE","CASTRO","24","ET1","STS","Actualizacion de medidas en forma manual",""]
["202603_0047","MJ1509A62105_0100","QUELLON_023_ER1_STS","2026-02-05T10:15:00","2026-02-05T11:45:00","2026-03-13T10:00:00","PRMTE","PENDIENTE","QUELLON","23","ER1","STS","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202603_0048","PT0907A65701_0100","CASTRO_110_H2_STS","2026-02-11T05:45:00","2026-02-28T23:45:00","2026-03-13T12:00:00","PRMTE","PENDIENTE","CASTRO","110","H2","STS","Actualizacion de medidas en forma manual",""]
["202603_0049","PT0807A24201_0100","QUELLON_023_EG1_STS","2026-02-05T12:30:00","2026-02-05T14:45:00","2026-03-13T10:00:00","PRMTE","PENDIENTE","QUELLON","23","EG1","STS","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202603_0050","PT1012A07201_0100","CHONCHI_024_ET1_STS","2026-02-10T05:45:00","2026-02-28T23:45:00","2026-03-13T10:00:00","PRMTE","PENDIENTE","CHONCHI","24","ET1","STS","Actualizacion de medidas en forma manual",""]
["202603_0051","PT0907A66301_0100","CASTRO_024_ET1_STS","2026-02-11T07:00:00","2026-03-13T11:15:00","2026-03-13T12:00:00","PRMTE","PENDIENTE","CASTRO","24","ET1","STS","Actualizacion de medidas en forma manual",""]
["202603_0052","MJ1510A76805_0100","DALCAHUE_110_H1_STS","2026-02-25T07:00:00","2026-02-28T23:45:00","2026-03-16T13:00:00","PRMTE","PENDIENTE","DALCAHUE","110","H1","STS","Actualizacion de medidas en forma manual",""]
["202603_0053","PT1011A91301_0100","ANCUD_023_ET1_STS","2026-02-26T05:45:00","2026-02-28T23:45:00","2026-03-16T13:00:00","PRMTE","PENDIENTE","ANCUD","23","ET1","STS","Actualizacion de medidas en forma manual",""]
["202603_0054","MJ1510A77605_0100","DALCAHUE_110_H2_STS","2026-02-25T07:00:00","2026-02-28T23:45:00","2026-03-16T13:00:00","PRMTE","PENDIENTE","DALCAHUE","110","H2","STS","Actualizacion de medidas en forma manual",""]
["202603_0055","MJ1510A77805_0100","PIDPID_110_H2_STS","2026-02-24T05:15:00","2026-02-28T23:45:00","2026-03-16T12:00:00","PRMTE","PENDIENTE","PID PID","110","H2","STS","Actualizacion de medidas en forma manual",""]
["202603_0056","MJ1510A77505_0100","DALCAHUE_023_ET1_STS","2026-02-25T07:00:00","2026-02-28T23:45:00","2026-03-16T12:00:00","PRMTE","PENDIENTE","DALCAHUE","23","ET1","STS","Actualizacion de medidas en forma manual",""]
["202603_0057","PT1012A07101_0100","ANCUD_110_HT1_STS","2026-02-26T05:45:00","2026-02-28T23:45:00","2026-03-16T17:00:00","PRMTE","PENDIENTE","ANCUD","110","HT1","STS","Actualizacion de medidas en forma manual",""]
["202603_0058","PT0901A30801_0100","CASTRO_110_HT1_STS","2026-02-12T05:45:00","2026-02-28T23:45:00","2026-03-16T12:00:00","PRMTE","PENDIENTE","CASTRO","110","HT1","STS","Actualizacion de medidas en forma manual",""]
["202603_0059","PT1012A05501_0100","PIDPID_023_ET1_STS","2026-02-24T06:15:00","2026-02-28T23:45:00","2026-03-16T12:00:00","PRMTE","PENDIENTE","PID PID","23","ET1","STS","Actualizacion de medidas en forma manual",""]
["202603_0060","MJ1610A23405_0100","CASTRO_110_H1_STS","2026-02-12T05:45:00","2026-02-28T23:45:00","2026-03-16T12:00:00","PRMTE","PENDIENTE","CASTRO","110","H1","STS","Actualizacion de medidas en forma manual",""]
["202603_0061","MR2509E03403_0100","DUQUECO_023_PMGD3_PFS","2026-03-01","2026-03-17T07:15:00","2026-03-17T08:00:00","PRMTE","PENDIENTE","DUQUECO","23","PMGD3","PUELCHE FLUX SPHERA","Actualizacion de medidas en forma manual",""]
["202603_0062","PJ0911A85502_0100","CHARRUA_220_J13_CLB","2025-12-28T17:15:00","2026-03-03T13:45:00","2026-03-17T11:00:00","PRMTE","PENDIENTE","CHARRUA","220","J13","ALFA TRANSMISORA","Actualizacion de medidas en forma manual",""]
["202603_0063","PJ0911A85502_0100","CHARRUA_220_J13_CLB","2025-12-19T07:15:00","2025-12-28T17:00:00","2026-03-17T10:00:00","PRMTE","PENDIENTE","CHARRUA","220","J13","ALFA TRANSMISORA","Actualizacion de medidas en forma manual",""]
["202603_0064","MW2003A86502_0100","TLCONFZA_023_E1_HCZ","2025-12-04T02:30:00","2026-03-18T10:15:00","2026-03-18T17:00:00","PRMTE","PENDIENTE","TAP LA CONFIANZA","23","E1","HIDROCONFIANZA SPA","Actualizacion de medidas en forma manual",""]
["202603_0065","MJ1702A29105_0100","DOMEYKO_220_J3_ESC","2025-11-01","2026-03-24T12:30:00","2026-03-24T15:00:00","PRMTE","PENDIENTE","DOMEYKO","220","J3","MINERA ESCONDIDA","Actualizacion de medidas en forma manual",""]
["202603_0066","MR2302A99102_0100","SAUZAL_013_LBR1_TRS","2025-11-10T01:00:00","2026-01-30T02:45:00","2026-03-30T12:00:00","PRMTE","PENDIENTE","SAUZAL","13","LBR1","CGE","Actualizacion de medidas en forma manual",""]
["202603_0067","MR2504B56703_0100","CNTALTAL_013_CTP_EDA","2025-11-01","2026-03-30T03:15:00","2026-03-30T13:00:00","PRMTE","PENDIENTE","CENTRAL TALTAL (ENEL GENERACION)","13","CTP","CGE","Actualizacion de medidas en forma manual",""]
["202603_0068","MR2406E87703_0100","CENTRO_023_LBR3_TRS","2025-11-01","2026-01-30T02:30:00","2026-03-31T11:00:00","PRMTE","PENDIENTE","CENTRO","23","LBR3","CGE","Actualizacion de medidas en forma manual",""]
["202604_0001","MR2509E03403_0100","DUQUECO_023_PMGD3_PFS","2026-03-01","2026-03-31T23:45:00","2026-04-01T20:00:00","PRMTE","PENDIENTE","DUQUECO","23","PMGD3","PUELCHE FLUX SPHERA","Actualizacion de medidas en forma manual",""]
["202604_0002","PJ1203A75803_0100","SIEGORDA_220_J1_SIG","2026-03-01T04:15:00","2026-04-01T03:30:00","2026-04-01T09:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","J1","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202604_0003","3202720066","SIEGORDA_220_JT2_SGO","2026-03-01","2026-03-31T23:45:00","2026-04-01T10:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT2","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202604_0004","MR2509D32803_0100","EMANZACH_023_PMGD6_BTT","2026-03-05T12:45:00","2026-04-01T10:30:00","2026-04-01T11:00:00","PRMTE","PENDIENTE","EL MANZANO (STM)","23","PMGD6","PMGD BELENOS TIL TIL","Actualizacion de medidas en forma manual",""]
["202604_0005","MJ1303B18203_0100","SIEGORDA_220_J2_SIG","2026-03-01T04:15:00","2026-04-01T03:30:00","2026-04-01T09:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","J2","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202604_0006","3202720067","SIEGORDA_220_JT3_SGO","2026-03-01","2026-03-31T23:45:00","2026-04-01T10:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT3","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202604_0007","3202720064","SIEGORDA_220_JT1_SGO","2026-03-01","2026-03-31T23:45:00","2026-04-01T10:00:00","PRMTE","PENDIENTE","SIERRA GORDA","220","JT1","SIERRA_GORDA","Actualizacion de medidas en forma manual",""]
["202604_0008","MW1405A18201_0100","TPTALTAL_220_JL1_PTL","2026-03-01","2026-03-31T23:45:00","2026-04-01T10:00:00","PRMTE","PENDIENTE","TAP OFF TALTAL","220","JL1","ALMEYDA SOLAR","Actualizacion de medidas en forma manual",""]
["202604_0009","MR2010B55402_0100","SVICTGTG_015_PMGD7_CIP","2026-02-01","2026-03-31T23:45:00","2026-04-01T19:00:00","PRMTE","PENDIENTE","SAN VICENTE DE TAGUA TAGUA","15","PMGD7","GR CIPRES","Actualizacion de medidas en forma manual",""]
["202604_0010","3172120572","DALMAGRO_110_H3_TRL","2026-03-01","2026-03-31T23:45:00","2026-04-06T13:00:00","PRMTE","PENDIENTE","DIEGO DE ALMAGRO","110","H3","TRANSELEC","Actualizacion de medidas en forma manual",""]
["202604_0011","MR2601F41303_0100","CATEMU_012_PMGD6_SMC","2026-01-02T09:00:00","2026-04-02T07:45:00","2026-04-06T12:00:00","PRMTE","PENDIENTE","CATEMU","12","PMGD6","PARQUE SOLAR SALAMANCA SPA","Actualizacion de medidas en forma manual",""]
["202604_0012","PJ0608A13001_0100","ESPRANZA_110_H3_CLB","2026-03-02T12:00:00","2026-04-01T16:45:00","2026-04-07T10:00:00","PRMTE","PENDIENTE","ESPERANZA","110","H3","ALFA TRANSMISORA","Actualizacion de medidas en forma manual",""]
["202604_0013","MW1303A45401_0100","SNCRISTO_012_LBR5_CHL","2026-03-02T11:30:00","2026-04-01T11:30:00","2026-04-07T16:00:00","PRMTE","PENDIENTE","SAN CRISTOBAL","12","LBR5","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202604_0014","MR2306D92202_0100","LSTAMBRS_023_PMGD2_ARN","2026-02-01","2026-03-31T23:45:00","2026-04-07T12:00:00","PRMTE","PENDIENTE","LOS TAMBORES","23","PMGD2","AGRICOLA RIO NILAHUE","Actualizacion de medidas en forma manual",""]
["202604_0015","MW1303A46301_0100","STAMARTA_023_LBR3_CHL","2026-03-03T14:15:00","2026-04-01T17:00:00","2026-04-07T17:00:00","PRMTE","PENDIENTE","SANTA MARTA","23","LBR3","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202604_0016","MW1303A46601_0100","MAIPU_012_LBR6_CHL","2026-03-03T19:15:00","2026-04-03T23:45:00","2026-04-07T16:00:00","PRMTE","PENDIENTE","MAIPU","12","LBR6","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202604_0017","MW1911A63502_0100","PNMRCANA_012_CT3_CHL","2026-03-31T05:15:00","2026-04-04T00:45:00","2026-04-07T16:00:00","PRMTE","PENDIENTE","PANAMERICANA","12","CT3","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202604_0018","MR1612A31301_0100","VILARICA_023_PMGD3_MAU","2026-03-01","2026-04-02T08:00:00","2026-04-07T10:00:00","PRMTE","PENDIENTE","VILLARRICA","23","PMGD3","MINICENTRALES ARAUCANIA","Actualizacion de medidas en forma manual",""]
["202604_0019","PJ0601A10101_0100","LSQUILOS_066_B3_CLB","2026-03-24T04:15:00","2026-03-31T23:45:00","2026-04-07T10:00:00","PRMTE","PENDIENTE","CENTRAL LOS QUILOS","66","B3","ALFA TRANSMISORA","Actualizacion de medidas en forma manual",""]
["202604_0020","MW1908B28602_0100","ALTAMIRA_012_CT4_CHL","2026-03-01","2026-03-31T23:45:00","2026-04-08T10:00:00","PRMTE","PENDIENTE","ALTAMIRANO","12","CT4","STM II","Actualizacion de medidas en forma manual",""]
["202604_0021","PT0810A16601_0100","ALTAMIRA_012_CT1_CHL","2026-03-01","2026-03-31T23:45:00","2026-04-08T10:00:00","PRMTE","PENDIENTE","ALTAMIRANO","12","CT1","STM II","Actualizacion de medidas en forma manual",""]
["202604_0022","MR2203B15302_0100","LAGUIRRE_012_PMGD1_FNX","2026-03-01","2026-03-31T23:45:00","2026-04-08T12:00:00","PRMTE","PENDIENTE","LO AGUIRRE","12","PMGD1","FENIX","Actualizacion de medidas en forma manual",""]
["202604_0023","MW1607B04202_0100","ALNDCORD_012_CT4_CHL","2026-03-01","2026-03-31T23:45:00","2026-04-08T10:00:00","PRMTE","PENDIENTE","ALONSO DE CORDOVA","12","CT4","STM II","Actualizacion de medidas en forma manual",""]
["202604_0024","MZ2403A47201_0100","NVALDVIA_023_E4_STS","2025-12-01","2026-03-31T23:45:00","2026-04-08T14:00:00","PRMTE","PENDIENTE","EL LAUREL","23","E4","STS","Actualizacion de medidas en forma manual",""]
["202604_0025","PT0711A29001_0100","STROSACH_012_CT2_CHL","2026-03-30T04:45:00","2026-03-31T23:45:00","2026-04-08T10:00:00","PRMTE","PENDIENTE","SANTA ROSA SUR","12","CT2","STM II","Actualizacion de medidas en forma manual",""]
["202604_0026","PT0901A17501_0100","CABRERO_023_ET2_FRL","2026-03-01","2026-03-31T23:45:00","2026-04-08T09:00:00","PRMTE","PENDIENTE","CABRERO","23","ET2","STS","Actualizacion de medidas en forma manual",""]
["202604_0027","MW1606A51402_0100","BOLLENAR_015_PMGD3_ASA","2026-03-02T12:00:00","2026-03-31T23:45:00","2026-04-08T13:00:00","PRMTE","PENDIENTE","BOLLENAR","15","G338","AASA ENERGIA","Actualizacion de medidas en forma manual",""]
["202604_0028","MZ2403A47101_0100","NVALDVIA_023_E6_STS","2026-03-01","2026-03-31T23:45:00","2026-04-08T10:00:00","PRMTE","PENDIENTE","EL LAUREL","23","E6","STS","Actualizacion de medidas en forma manual",""]
["202604_0029","MR2601F41303_0100","CATEMU_012_PMGD6_SMC","2026-04-02T08:00:00","2026-04-13T12:15:00","2026-04-13T17:00:00","PRMTE","PENDIENTE","CATEMU","12","PMGD6","PARQUE SOLAR SALAMANCA SPA","Actualizacion de medidas en forma manual",""]
["202604_0030","PT0710A64801_0100","MASISA_013_C2_FRL","2026-03-18T11:45:00","2026-03-26T23:45:00","2026-04-15T14:00:00","PRMTE","PENDIENTE","MASISA","13","C2","STS","Actualizacion de medidas en forma manual",""]
["202604_0031","PT1011A90901_0100","MASISA_013_C1_FRL","2026-03-18T05:45:00","2026-03-26T23:45:00","2026-04-15T13:00:00","PRMTE","PENDIENTE","MASISA","13","C1","STS","Actualizacion de medidas en forma manual",""]
["202604_0032","MW1310A83801_0100","FBRANOVA_013_C2_STS","2026-03-17T15:15:00","2026-03-17T16:30:00","2026-04-15T12:00:00","PRMTE","PENDIENTE","FIBRANOVA","13","C2","STS","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0033","MW1504A80202_0100","CHILOE_110_H1_STS","2026-03-11T05:45:00","2026-03-26T23:45:00","2026-04-15T11:00:00","PRMTE","PENDIENTE","CHILOE","110","H1","STS","Actualizacion de medidas en forma manual",""]
["202604_0034","PT0907A38001_0100","CHILOE_110_H2_STS","2026-03-11T05:45:00","2026-03-26T23:45:00","2026-04-15T12:00:00","PRMTE","PENDIENTE","CHILOE","110","H2","STS","Actualizacion de medidas en forma manual",""]
["202604_0035","PT1201A24301_0100","CHILOE_110_HT1_STS","2026-03-12T05:45:00","2026-03-26T23:45:00","2026-04-15T12:00:00","PRMTE","PENDIENTE","CHILOE","110","HT1","STS","Actualizacion de medidas en forma manual",""]
["202604_0036","PT0907A37801_0100","CHILOE_110_H3_STS","2026-03-11T05:45:00","2026-03-26T23:45:00","2026-04-15T12:00:00","PRMTE","PENDIENTE","CHILOE","110","H3","STS","Actualizacion de medidas en forma manual",""]
["202604_0037","MW1310A94001_0100","FBRANOVA_013_C3_STS","2026-03-17T11:30:00","2026-03-17T13:15:00","2026-04-15T12:00:00","PRMTE","PENDIENTE","FIBRANOVA","13","C3","STS","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0038","MW1310A83901_0100","FBRANOVA_013_C1_MAS","2026-03-17T15:15:00","2026-03-17T16:30:00","2026-04-15T12:00:00","PRMTE","PENDIENTE","FIBRANOVA","13","C1","MASISA","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0039","PT1101A28901_0100","DEGAN_023_ET1_STS","2026-03-10T05:45:00","2026-03-26T23:45:00","2026-04-15T11:00:00","PRMTE","PENDIENTE","DEGAÑ","23","ET1","STS","Actualizacion de medidas en forma manual",""]
["202604_0040","MW1202A01801_0100","CHILOE_110_H4_STS","2026-03-12T05:45:00","2026-03-26T23:45:00","2026-04-15T12:00:00","PRMTE","PENDIENTE","CHILOE","110","H4","STS","Actualizacion de medidas en forma manual",""]
["202604_0041","MW1201A06801_0100","RANCAGUA_154_AT1_TRS","2026-03-11T09:45:00","2026-03-11T11:00:00","2026-04-16T13:00:00","PRMTE","PENDIENTE","RANCAGUA","154","AT1","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0042","MW1509A61502_0100","RANCAGUA_066_B3_TRS","2026-03-09T15:30:00","2026-03-09T16:45:00","2026-04-16T11:00:00","PRMTE","PENDIENTE","RANCAGUA","66","B3","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0043","MW1509A33702_0100","RANCAGUA_066_B4_TRS","2026-03-10T09:30:00","2026-03-10T10:45:00","2026-04-16T13:00:00","PRMTE","PENDIENTE","RANCAGUA","66","B4","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0044","MW1611A20902_0100","LMAQUITN_066_BT1_TRS","2026-03-17T14:30:00","2026-03-17T15:45:00","2026-04-16T11:00:00","PRMTE","PENDIENTE","LOS MAQUIS (CGE)","66","BT1","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0045","MW1306A79501_0100","RANCAGUA_154_AT4_TRS","2026-03-11T13:15:00","2026-03-11T14:30:00","2026-04-16T13:00:00","PRMTE","PENDIENTE","RANCAGUA","154","AT4","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0046","MW1310A94501_0100","RANCAGUA_154_AT2_TRS","2026-03-11T11:15:00","2026-03-11T12:45:00","2026-04-16T11:00:00","PRMTE","PENDIENTE","RANCAGUA","154","AT2","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0047","MW1607A38002_0100","LMAQUITN_066_B4_TRS","2026-03-17T16:15:00","2026-03-17T17:15:00","2026-04-16T11:00:00","PRMTE","PENDIENTE","LOS MAQUIS (CGE)","66","B4","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0048","MW1202A03701_0100","CQLTHUES_013_C_TRS","2026-03-26T12:00:00","2026-03-26T13:30:00","2026-04-16T10:00:00","PRMTE","PENDIENTE","CENTRAL QUELTEHUES","013","C","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0049","MW1611A25002_0100","LMAQUITN_013_CT1_TRS","2026-03-17T11:45:00","2026-03-17T14:00:00","2026-04-16T11:00:00","PRMTE","PENDIENTE","LOS MAQUIS (CGE)","13","CT1","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0050","MW1509A33802_0100","MAULE_154_A1_TRS","2026-03-18T09:45:00","2026-03-18T11:00:00","2026-04-16T10:00:00","PRMTE","PENDIENTE","MAULE","154","A1","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0051","PT1101A06001_0100","RANCAGUA_066_B6_TRS","2026-03-10T13:00:00","2026-03-10T14:15:00","2026-04-16T13:00:00","PRMTE","PENDIENTE","RANCAGUA","66","B6","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0052","PT1106B22001_0100","CHANARAL_013_CT1_TRS","2026-03-25T11:45:00","2026-03-25T13:00:00","2026-04-16T10:00:00","PRMTE","PENDIENTE","CHAÑARAL","13","CT1","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0053","MW1509A34102_0100","MAULE_154_A2_TRS","2026-03-18T11:30:00","2026-03-18T12:45:00","2026-04-16T10:00:00","PRMTE","PENDIENTE","MAULE","154","A2","CGE","Verificacion en el medidor, medida corresponde a un medidor remarcado",""]
["202604_0054","3212040585","LSNOTROS_220_J10-J11_TRL","2026-04-01","2026-04-24T10:15:00","2026-04-24T14:00:00","PRMTE","PENDIENTE","LOS NOTROS","220","J10-J11","TRANSELEC","Actualizacion de medidas en forma manual",""]
["202604_0055","3172150274","QUILLOTA_000_SA1_TRL","2026-04-01","2026-04-24T03:30:00","2026-04-24T14:00:00","PRMTE","PENDIENTE","QUILLOTA","0","SA1","TRANSELEC","Actualizacion de medidas en forma manual",""]
["202604_0056","3172090437","CARDONES_110_HT2_TRL","2026-04-01","2026-04-24T11:30:00","2026-04-24T14:00:00","PRMTE","PENDIENTE","CARDONES","110","HT2","TRANSELEC","Actualizacion de medidas en forma manual",""]
["202604_0057","MR2509E03403_0100","DUQUECO_023_PMGD3_PFS","2026-04-01","2026-04-24T16:45:00","2026-04-24T17:00:00","PRMTE","PENDIENTE","DUQUECO","23","PMGD3","PUELCHE FLUX SPHERA","Actualizacion de medidas en forma manual",""]
["202604_0058","MW2510A46902_0100","SNFELIPE_110_HT1_CHQ","2026-04-23T04:30:00","2026-04-23T11:15:00","2026-04-28T13:00:00","PRMTE","PENDIENTE","SAN FELIPE","110","HT1","CHILQUINTA","Actualizacion de medidas en forma manual",""]
["202605_0001","MR2601F41303_0100","CATEMU_012_PMGD6_SMC","2026-04-13T12:30:00","2026-05-04T10:45:00","2026-05-04T12:00:00","PRMTE","PENDIENTE","CATEMU","12","PMGD6","PARQUE SOLAR SALAMANCA SPA","Actualizacion de medidas en forma manual",""]
["202605_0002","PT0802A74301_0100","CHARRUA_220_J18_CLB","2026-03-03T10:45:00","2026-05-04T11:00:00","2026-05-05T08:00:00","PRMTE","PENDIENTE","CHARRUA","220","J18","COLBUN","Actualizacion de medidas en forma manual",""]
["202605_0003","MW2307A21902_0100","PTRUFQEN_023_PMGD3_HAP","2026-04-21T11:00:00","2026-04-30T23:45:00","2026-05-06T13:00:00","PRMTE","PENDIENTE","PITRUFQUEN","23","PMGD3","HIDROELECTRICA ALLIPEN","Actualizacion de medidas en forma manual",""]
["202605_0004","PT0901A17501_0100","CABRERO_023_ET2_FRL","2026-04-01","2026-04-30T23:45:00","2026-05-06T11:00:00","PRMTE","PENDIENTE","CABRERO","23","ET2","STS","Actualizacion de medidas en forma manual",""]
["202605_0005","PT1106A63601_0100","MDVELASC_015_CT1_TRS","2026-04-30T03:00:00","2026-05-05T07:45:00","2026-05-06T10:00:00","PRMTE","PENDIENTE","MANSO DE VELASCO","15","CT1","CGE","Actualizacion de medidas en forma manual",""]
["202605_0006","MW1404A45701_0100","MDVELASC_066_B1_TRS","2026-04-30T03:00:00","2026-05-05T07:45:00","2026-05-06T10:00:00","PRMTE","PENDIENTE","MANSO DE VELASCO","66","B1","CGE","Actualizacion de medidas en forma manual",""]
["202605_0007","MW2206A87802_0100","LANEGRA_110_HT2_EME","2026-03-02T04:15:00","2026-03-02T11:15:00","2026-05-06T15:00:00","PRMTE","PENDIENTE","TAP OFF LA NEGRA","110","HT2","CGE","Actualizacion de medidas en forma manual",""]
["202605_0008","3242135111","PEQ_023_E19_QUI","2026-03-30T23:45:00","2026-04-30T12:15:00","2026-05-06T12:00:00","PRMTE","PENDIENTE","PEQ","23","E19","QUILLAGUA","Actualizacion de medidas en forma manual",""]
["202605_0009","MZ2403A47201_0100","NVALDVIA_023_E4_STS","2026-04-01","2026-04-30T23:45:00","2026-05-06T11:00:00","PRMTE","PENDIENTE","EL LAUREL","23","E4","STS","Actualizacion de medidas en forma manual",""]
["202605_0010","MR2601F52403_0100","VILARICA_023_PMGD2_MVR","2026-04-03T21:00:00","2026-04-29T13:15:00","2026-05-06T11:00:00","PRMTE","PENDIENTE","VILLARRICA","23","PMGD2","MOLINERA VILLARRICA","Actualizacion de medidas en forma manual",""]
["202605_0011","MR2509E03403_0100","DUQUECO_023_PMGD3_PFS","2026-04-04","2026-05-06T11:45:00","2026-05-06T13:00:00","PRMTE","PENDIENTE","DUQUECO","23","PMGD3","PUELCHE FLUX SPHERA","Actualizacion de medidas en forma manual",""]
["202605_0012","MW1210A71801_0100","MDVELASC_015_CT2_TRS","2026-04-30T03:00:00","2026-05-05T07:45:00","2026-05-06T10:00:00","PRMTE","PENDIENTE","MANSO DE VELASCO","15","CT2","CGE","Actualizacion de medidas en forma manual",""]
["202605_0013","MW2410A04002_0100","CATEMU_012_PMGD2_GRQ","2026-04-09T15:00:00","2026-05-01T02:00:00","2026-05-06T14:00:00","PRMTE","PENDIENTE","CATEMU","12","PMGD2","PV RODEO","Actualizacion de medidas en forma manual",""]
["202605_0014","MZ2403A47101_0100","NVALDVIA_023_E6_STS","2026-04-01","2026-04-30T23:45:00","2026-05-06T11:00:00","PRMTE","PENDIENTE","EL LAUREL","23","E6","STS","Actualizacion de medidas en forma manual",""]
["202605_0015","PJ0608A13001_0100","ESPRANZA_110_H3_CLB","2026-04-01T17:00:00","2026-05-04T23:45:00","2026-05-07T17:00:00","PRMTE","PENDIENTE","ESPERANZA","110","H3","ALFA TRANSMISORA","Actualizacion de medidas en forma manual",""]
["202605_0016","PT1101B08501_0100","POLPAICO_220_J5_CHL","2026-04-07T12:00:00","2026-04-30T23:45:00","2026-05-08T10:00:00","PRMTE","PENDIENTE","POLPAICO (TRANSELEC)","220","J5","STM II","Actualizacion de medidas en forma manual",""]
["202605_0017","PT0802A82101_0100","CALEU_012_C1_CHL","2026-04-10T13:15:00","2026-04-30T23:45:00","2026-05-08T11:00:00","PRMTE","PENDIENTE","CALEU","12","C1","STM II","Actualizacion de medidas en forma manual",""]
["202605_0018","MW1607B04202_0100","ALNDCORD_012_CT4_CHL","2026-04-01","2026-04-30T23:45:00","2026-05-08T10:00:00","PRMTE","PENDIENTE","ALONSO DE CORDOVA","12","CT4","STM II","Actualizacion de medidas en forma manual",""]
["202605_0019","MW1405A18201_0100","TPTALTAL_220_JL1_PTL","2026-04-01","2026-04-30T23:45:00","2026-05-08T09:00:00","PRMTE","PENDIENTE","TAP OFF TALTAL","220","JL1","ALMEYDA SOLAR","Actualizacion de medidas en forma manual",""]
["202605_0020","PT1011A44701_0100","PTAPEUCO_110_H_KDM","2026-04-15T03:45:00","2026-04-30T23:45:00","2026-05-08T11:00:00","PRMTE","PENDIENTE","PUNTA PEUCO (CEMENTO POLPAICO)","110","H","KDM","Actualizacion de medidas en forma manual",""]
["202605_0021","MW1812A08102_0100","TRESPINO_023_PMGD2_HJC","2026-04-21T09:15:00","2026-04-30T23:45:00","2026-05-08T11:00:00","PRMTE","PENDIENTE","TRES PINOS","23","PMGD2","HUAJACHE","Actualizacion de medidas en forma manual",""]
["202605_0022","PT1011A35501_0100","CLCLRDOS_110_HT1_KDM","2026-04-15T03:45:00","2026-04-30T23:45:00","2026-05-08T11:00:00","PRMTE","PENDIENTE","CENTRAL LOMA LOS COLORADOS","23","LBR1","KDM","Actualizacion de medidas en forma manual",""]
["202605_0023","PJ1111A46302_0100","CLCLRDOS_023_CP2_KDM","2026-04-15T03:45:00","2026-04-30T23:45:00","2026-05-08T11:00:00","PRMTE","PENDIENTE","CENTRAL LOMA LOS COLORADOS","23","CP2","KDM","Actualizacion de medidas en forma manual",""]
["202605_0024","PJ1503A88205_0100","CLCLRDOS_023_LBR1_KDM","2026-04-15T03:45:00","2026-04-30T23:45:00","2026-05-08T11:00:00","PRMTE","PENDIENTE","CENTRAL LOMA LOS COLORADOS","110","HT1","KDM","Actualizacion de medidas en forma manual",""]
["202605_0025","PJ1108A33702_0100","CLCLRDOS_023_ET1_KDM","2026-04-15T03:45:00","2026-04-30T23:45:00","2026-05-08T11:00:00","PRMTE","PENDIENTE","CENTRAL LOMA LOS COLORADOS","23","ET1","KDM","Actualizacion de medidas en forma manual",""]
["202605_0026","PT0711A29001_0100","STROSACH_012_CT2_CHL","2026-04-01","2026-04-30T23:45:00","2026-05-08T10:00:00","PRMTE","PENDIENTE","SANTA ROSA SUR","12","CT2","STM II","Actualizacion de medidas en forma manual",""]
["202605_0027","MW2305A15602_0100","TRESPINO_023_PMGD1_RKI","2026-04-21T11:00:00","2026-04-30T23:45:00","2026-05-08T11:00:00","PRMTE","PENDIENTE","TRES PINOS","23","PMGD1","RAKI","Actualizacion de medidas en forma manual",""]
["202605_0028","MW1911A63502_0100","PNMRCANA_012_CT3_CHL","2026-04-04T01:00:00","2026-04-30T23:45:00","2026-05-08T10:00:00","PRMTE","PENDIENTE","PANAMERICANA","12","CT3","ENEL DISTRIBUCION","Actualizacion de medidas en forma manual",""]
["202605_0029","MR2504C40703_0100","LACALERA_012_PMGD3_AAR","2026-04-28T10:45:00","2026-04-30T23:45:00","2026-05-08T11:00:00","PRMTE","PENDIENTE","LA CALERA","12","PMGD3","PARQUE LAS PENITAS","Actualizacion de medidas en forma manual",""]
["202605_0030","MR2305D78802_0100","MEJILONS_023_PMGD2_FRS","2026-05-01","2026-05-11T10:45:00","2026-05-11T13:00:00","PRMTE","PENDIENTE","MEJILLONES","23","PMGD2","PMGD PARQUE FAROL SOLAR","Actualizacion de medidas en forma manual",""]